MP V STANDARD RANGE

CHARACTERISTICS

Type:				Electric lift

Load:				320 kg up to 1600 kg

Capacity:			From 4 to 21 passengers

Speed:				1 m/s and 1.6 m/s

Suspension:			1:1 and 2:1

Travel:				Up to 45 m

Stops:				16 stops

Entrances:	Single entrance, double 180º entrance

CAR

Model:	D100 with single beam photocell.

(Optional: curtain photocell)

Jamb arrow direction.

(Optional: other car models, please see catalogues)

Exterior dimensions:		See table

Height:				2,100 mm

(Optional: other heights)

CAR DOORS

Type:	Automatic: 2 side-opening panels. VVVF

(Optional: other models)

Finish:				Stainless steel finish (X02).

Dimensions:			See table x 2000 mm

(Optional: other heights)

LANDING DOORS

Type:	Automatic: 2 side-opening panels.

(Optional: other models)

Finish:				Epoxy RAL 7044

Dimensions:			See table x 2000 mm

(Optional: other heights)

Std certification:	E120 (700-1000). PF30 (1300)

(Optional: Other certifications)

SHAFT

Dimensions:			See table

Pit:				See table

Free travel for safety reasons:	See table

CONTROL OPERATING PANEL

Model:	Full-height

Finish:	Plastic coated steel

(Optional: Stainless steel (X02)).

Button:	Mechanical, polycarbonate plastic, fireproof pushbutton lit using LEDs

(Optional: Mechanical, stainless steel pushbutton with halo lighting)

Car indicator:	Display made up of 2 digits with Leds of 7-segments

(Optional: LCD display)

Safety:	Emergency  light and telephone

FLOOR OPERATING PANEL

Model:	P001, door frame

Finish:	Stainless steel plate (X02)

Button:	Mechanical, polycarbonate plastic, fireproof pushbutton lit up with LEDs.

(Optional: Mechanical stainless steel pushbutton with halo lighting)

Engraving:	Black logo (laser)

CONTROLLER

Type:	Microbasic controller. Down collective or universal.

(Optional: VS)

Location:	In machine room, located at the top.

ELECTRICAL INSTALLATION

Preassembled with “Plug & Play” connectors.

MACHINE

Worm-ring reducer.

Rescue operation: manual, directly on machine.

BUFFERS

##### Made from polyurethane with a metal pedestal included.

COLD-DRAWN / MACHINED

Cold-drawn/ Machined.

In accordance with ISO 7465

Suspended

FIXINGS

Fixing brackets and plugs concrete enclosure.

POWER

Power voltage: 			Three-phase 380 V

Lighting: 			220 V

Frequency: 			50 Hz.

(Optional: 60Hz)